ULTRASOUND QA MANAGEMENT SYSTEM

Project Specification Document

July 2025

Table of Contents

Project’s context	3

Project’s aims	3

Project’s perimeter	3

Users	4

Functionalities	4

Diagram of use	5

Diagram of class	6

Mock-up	6

Page 1: Index	6

Page 2: Test	6

Page 3: Library	6

Technical constraints	6

## Project’s context

St George’s Hospital, Ultrasound Team.

Issue: Compliance with end user quality assurance tests in Radiology is low. Issues with scanners or probes often go unreported. There is a need to simply the process to record test results and report issues to the ultrasound physics team.

Goal: To create a custom application/website that allows  end users to access the scanner inventory and input results of standardised tests.

## Project’s aims

Specific goals:

- Identify which systems are due for testing

- Make the records of tests easier

- Centralise the data

- Improve the trackability

- Provide a route to report issues to medical physics and monitor status

## Project’s perimeter

Included:

- Auto-saving test pages (idk)

- Export history in Excel sheet

- Access to the ultrasound team contact details

- Auto update worklist according to the date and machine test done

- You can update manually list of the machine

- Log the fault automatically

Not included:

- Auto update of new machines

## Users

- Radiographers, ultrasound team

- No need to have a training (for the app?)

- Need to have an account (administered by ultrasound team)

- Anyone connected can access all of the machines

## Functionalities

| Functionality | Description |
| --- | --- |
| Worklist | Table with 3 columns: Room, Scanner’s name and due date. The worklist is updated every day and if a machine is done it will be updated. It will show the machine that have to be tested to the maximum 5 days ago. |
| Outstanding faults table | Table with 4 columns: Room, scanner’s name, progress (Completed Successfully, in progress, not started). |
| Contact physics | Button clickable. You will open an email window directly with the ultrasound team contact. |
| View library | Button clickable to go on a page in which you can see all the active machine with a picture and a button results history. |
| View results history | On the library, if you click on button results history you will upload the Excel Sheet. You can also have a button up on this page to upload the results history of all the machines. |
| Update scanner parent child | Button clickable on the index page to update the machine’s list from exisiting Equipment database |
| Exit button | To disconnect from the website. |
| Test page | If you double click on a machine in the worklist, you will have the test page that include all the probe’s test tables and information about the machine (location, name and due date). A ‘back to dashboard’ button to go back to the index page. A ‘save the result’ button to save the result. |
| Test table | Probe number, model, serial number. Visual inspection: pass or fail button Uniformity: write a comment and button to declare a fault Depth of reverb: enter a value Noise level: enter a value |
| Fault | On the test page, possibility to log another fault with a comment section. |
| Link | Link to work instructions (SOP) for tests |

## Diagram of use

## Diagram of class

## Mock-up

### Page 1: Index

### Page 2: Test

### Page 3: Library

## Technical constraints

- Django, e-quip database, SQLite database.

- Hebergement?

- Security?